**LEXYS**

**Focusable and dimmable spotlight, equipped with a high output Led.**

**Holding positions by tightening the locking pin**

**Azimuth 365° for tieback mounting version,**

**Azimuth 350° for 3-circuits track adaptor mounting version (365° option available).**

**Accessories: barndoors and filter holder**

**Mounting possibilities : track adaptor and tie back mounting**